## Result sheet
Method name: Shaul_SYBRgreen1
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1806011180
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦STACKER:V1.0.3
Date: |  |  |  | 2020-08-31
Time: |  |  |  | 7:10 PM
System |  |  |  | DESKTOP-894FVBB
User |  |  |  | DESKTOP-894FVBB\Platereader
Plate |  |  |  | [GRE96fb_SCREENSTAR] - Greiner 96 Flat Black Cat. No.: 655866
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | 8.31 t0 chitin
Name |  |  |  | GRE96fb_SCREENSTAR
Plate layout
Plate area |  |  |  | A1-H12
Mode | Fluorescence Top Reading
Name | 8.31 t0 chitin
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 500 | nm
Excitation bandwidth |  |  |  | 10 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 540 | nm
Emission bandwidth |  |  |  | 10 | nm
Gain |  |  |  | 80 | Manual
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 18000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2020-08-31 19:09:49
Temperature |  |  |  | 24.7 | °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 542 | 630 | 677 | 578 | 641 | 517 | 571 | 693 | 491 | 556 | 560 | 647
B | 553 | 605 | 696 | 492 | 589 | 411 | 1074 | 591 | 584 | 478 | 879 | 1355
C | 548 | 575 | 486 | 404 | 576 | 507 | 526 | 657 | 289 | 334 | 707 | 625
D | 858 | 591 | 1635 | 746 | 805 | 1058 | 374 | 3119 | 1381 | 901 | 592 | 1617
E | 890 | 919 | 1355 | 884 | 706 | 1028 | 398 | 519 | 517 | 584 | 413 | 394
F | 485 | 474 | 423 | 544 | 474 | 485 | 954 | 827 | 749 | 773 | 962 | 1070
G | 1187 | 1218 | 1347 | 1284 | 1397 | 1330 | 1300 | 1347 | 971 | 1304 | 1522 | 1283
H | 1838 | 1974 | 1815 | 1944 | 1844 | 1765 | 482 | 567 | 508 | 619 | 589 | 578
End Time |  |  |  | 2020-08-31 19:10:31