## Result sheet
Method name: Shaul_SYBRgreen1
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1806011180
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦STACKER:V1.0.3
Date: |  |  |  | 2020-09-02
Time: |  |  |  | 4:56 PM
System |  |  |  | DESKTOP-894FVBB
User |  |  |  | DESKTOP-894FVBB\Platereader
Plate |  |  |  | [GRE96fb_SCREENSTAR] - Greiner 96 Flat Black Cat. No.: 655866
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | 8.31 t48 chitin
Name |  |  |  | GRE96fb_SCREENSTAR
Plate layout
Plate area |  |  |  | A1-H12
Mode | Fluorescence Top Reading
Name | 8.31 t48 chitin
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 500 | nm
Excitation bandwidth |  |  |  | 10 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 540 | nm
Emission bandwidth |  |  |  | 10 | nm
Gain |  |  |  | 80 | Manual
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 18000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2020-09-02 16:55:23
Temperature |  |  |  | 20.8 | °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 469 | 636 | 736 | 907 | 723 | 734 | 1180 | 1267 | 1219 | 1260 | 1346 | 1049
B | 617 | 394 | 524 | 560 | 613 | 603 | 479 | 498 | 767 | 755 | 558 | 682
C | 787 | 560 | 588 | 563 | 457 | 632 | 662 | 618 | 668 | 592 | 991 | 587
D | 5588 | 6781 | 6230 | 6927 | 6443 | 5988 | 532 | 464 | 451 | 432 | 492 | 641
E | 1992 | 1744 | 1845 | 1179 | 1845 | 1900 | 547 | 520 | 486 | 520 | 650 | 721
F | 643 | 585 | 678 | 622 | 635 | 640 | 1567 | 1210 | 1398 | 1437 | 1542 | 1432
G | 1513 | 2129 | 2124 | 1953 | 2080 | 1867 | 1678 | 1562 | 1580 | 1435 | 1079 | 1431
H | 2789 | 2133 | 4052 | 5046 | 4973 | 3226 | 677 | 445 | 1227 | 580 | 861 | 651
End Time |  |  |  | 2020-09-02 16:56:05