## Result sheet
Method name: Shaul_SYBRgreen1
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1806011180
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦STACKER:V1.0.3
Date: |  |  |  | 2020-09-04
Time: |  |  |  | 2:29 PM
System |  |  |  | DESKTOP-894FVBB
User |  |  |  | DESKTOP-894FVBB\Platereader
Plate |  |  |  | [GRE96fb_SCREENSTAR] - Greiner 96 Flat Black Cat. No.: 655866
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | 8.31 t96 chitin
Name |  |  |  | GRE96fb_SCREENSTAR
Plate layout
Plate area |  |  |  | A1-H12
Mode | Fluorescence Top Reading
Name | 8.31 t96 chitin
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 500 | nm
Excitation bandwidth |  |  |  | 10 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 540 | nm
Emission bandwidth |  |  |  | 10 | nm
Gain |  |  |  | 80 | Manual
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 18000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2020-09-04 14:29:01
Temperature |  |  |  | 32 | °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 799 | 894 | 669 | 493 | 731 | 675 | 1379 | 1297 | 1562 | 1272 | 1289 | 1193
B | 634 | 663 | 957 | 544 | 452 | 633 | 1076 | 544 | 561 | 527 | 460 | 460
C | 483 | 710 | 647 | 519 | 536 | 551 | 526 | 549 | 592 | 775 | 533 | 502
D | 7328 | 7070 | 5935 | 7213 | 7011 | 7843 | 482 | 419 | 411 | 373 | 566 | 388
E | 2803 | 2790 | 2630 | 2726 | 2629 | 2677 | 788 | 829 | 813 | 947 | 831 | 949
F | 742 | 689 | 814 | 665 | 722 | 798 | 1719 | 1687 | 1755 | 1655 | 1559 | 1557
G | 2649 | 2339 | 1983 | 2167 | 2027 | 1923 | 2077 | 2138 | 2318 | 2066 | 1834 | 1914
H | 6783 | 7251 | 7381 | 8468 | 6874 | 7135 | 574 | 568 | 427 | 402 | 517 | 513
End Time |  |  |  | 2020-09-04 14:29:43