## Result sheet
Method name: Shaul_SYBRgreen1
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1806011180
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦STACKER:V1.0.3
Date: |  |  |  | 2020-09-06
Time: |  |  |  | 4:49 PM
System |  |  |  | DESKTOP-894FVBB
User |  |  |  | DESKTOP-894FVBB\Platereader
Plate |  |  |  | [GRE96fb_SCREENSTAR] - Greiner 96 Flat Black Cat. No.: 655866
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | 8.31 t140 chitin
Name |  |  |  | GRE96fb_SCREENSTAR
Plate layout
Plate area |  |  |  | A1-H12
Mode | Fluorescence Top Reading
Name | 8.31 t140 chitin
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 500 | nm
Excitation bandwidth |  |  |  | 10 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 540 | nm
Emission bandwidth |  |  |  | 10 | nm
Gain |  |  |  | 80 | Manual
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 18000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2020-09-06 16:49:01
Temperature |  |  |  | 24.8 | °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 801 | 968 | 836 | 1029 | 810 | 760 | 1112 | 993 | 945 | 699 | 786 | 633
B | 604 | 363 | 232 | 254 | 349 | 235 | 324 | 194 | 220 | 303 | 202 | 323
C | 564 | 482 | 379 | 506 | 295 | 478 | 610 | 436 | 461 | 557 | 338 | 87
D | 3144 | 2584 | 2601 | 2570 | 3244 | 3958 | 241 | 205 | 250 | 277 | 236 | 286
E | 2541 | 2461 | 2369 | 2584 | 2463 | 1826 | 1124 | 1350 | 1096 | 1154 | 1292 | 1265
F | 685 | 423 | 425 | 407 | 475 | 441 | 912 | 726 | 854 | 743 | 1066 | 1053
G | 2549 | 1812 | 1948 | 1882 | 1812 | 1547 | 1663 | 2131 | 2055 | 1763 | 1630 | 1688
H | 4132 | 4680 | 4661 | 5046 | 4622 | 4475 | 757 | 445 | 446 | 409 | 480 | 532
End Time |  |  |  | 2020-09-06 16:49:43